## Sheet1
5 Years Old: Peak performance; minimal belt slip; <2% efficiency loss.
10 Years Old: Actuators drift slightly; 3%–5% loss.
15 Years Old: Air leaks around dampers; 5%–10% loss.
20 Years Old: Fan wheel unbalance increases static drag; 10%–15% loss.
30 Years Old: Severe damper leakage; 15%–25% loss.
40 Years Old: Ancient forward-curve fans; 25%–35% loss.
50 Years Old: Structural casing leaks; 35%+ loss.